## Sheet1
Available Equipment | Use/Keywords | Staff Contact
SAMPLE PREPARATION
Carver Laboratory Press Model B with 6" platen | Sample press, composites, sample preparation | Kim Ivey
Carver Laboratory Press Model C with 6" heated platens | sample press, composites, sample preparation
Buehler Ecomet 5 Two-speed grinder-polisher | Sample grinding, polishing
Buehler Automet 2 powerhead | Ecomet 5 control
Dionex ASE 200 Accelerated Solvent Extractor | Extraction, fiber finish quantification, sample preparation
Taber Abrader Model 503 | Abrasion testing, textiles
Wyzenbeek Abrader | Abrasion testing, textiles | Aniruddha Dive
Simplimet 4000 | Automated metollography sample mounting press
Automet 250 | Semi-automated metallography sample grinding and polishing machine
One Tier Rotary Jar Mill | Alumina grinding media
Vertical High Energy Planetary Ball Mill | Alumina and Zirconia grinding media
Balances
Sartorius Microbalance Model M2P | mass determination, sample preparation | Kim Ivey
Mettler Toledo ME30 Microbalance | mass determination, sample preparation
Sartorius Semi-Micro Analytical 6place balance model LE 26D | mass determination, sample preparation
Thermal Analysis
TA Instruments Q400 TMA | Thermal mechanical anlaysis | Kim Ivey
TA Instruments Q5000 TGA | Thermo-gravimetric analysis
TA Instruments Q800 DMA | Dynamic Mechanical Analysis, Fiber/Film Tension Clamp, Dual/Single cantilever
TA Instruments TGA 2950 | Thermo-gravimetric analysis
TA Instruments MDSC 2920 | Thermal Analysis, Differential Scanning Calorimetry, modulated DSC
TA Instruments Q1000 MDSC | Thermal Analysis, Differential Scanning Calorimetry
TA Instruments SDT 650 | Simultaneous DSC and TGA (high temperature up to 1500 C) | Aniruddha Dive
TA Instruments DLF-RM-1200 | Laser flash thermal diffusivity up to 1200 C
TA Instruments DIL 822 Vertical Dilatometer | Coefficient of thermal expansion and sintering studies
UV/VIS Spectroscopy
Shimadzu 3600 UV/Vis NIR | Ultraviolet, visible and near infrared spectroscopy | Kim Ivey
ISR-3100 UV/Vis NIR integrating sphere accessory for UV 3600 | Ultraviolet, visible and near infrared spectroscopy
Infrared Spectroscopy
Thermo Nicolet Magna 550 FTIR | Fourier Transform Infrared Spectroscopy | Kim Ivey
Thermo-Spectra Tech Nic-Plan FTIR microscope | Fourier Transform Micro-Infrared Spectroscopy
Thermo-SpectraTech Foundation Series Diamond ATR Accessory | Attenuated Total Reflection Infrared Spectroscopy
Thermo 6700 FTIR Bench | Fourier Transform Infrared Spectroscopy
Thermo CONTINUUM FTIR Microscope | Fourier Transform Micro-Infrared Spectroscopy
Thermo- ORBIT ATR accessory with Diamond and Germanium plates | Attenuated Total Reflection Infrared Spectroscopy
Pike Technologies VEEMAX II Grazing Angle Accessory for FTIR | Grazing Angle Infrared spectroscopy
Separations/Chromatography
Waters APC Systen | GPC, polymer, molecular weight distribution | Kim Ivey
Advanced Imaging
Zeiss Xradia Versa 615 X-ray microscope | Micro CT - 3D tomography with down to 500nm resolution | Kostya Kornev
JEOL Tabletop SEM |  | Aniruddha Dive
Microscopy
Lawson-Hempill, Inc. DMT PPM-5R | Dynamic modulus teste | Joel Barden
Instrument Color Systems multilight - LIGHTBOX | D65, A, CWF, UV lightbox | Jae Lowe
Pantone Color Viewing Lightbox | D65, cool white, flourescent lightbox
Meiji Techno RZ stereo microscope w/ ProgRes CapturePro software | Image analysis, stereomicroscopy
Circular Illuminator, blacklight | Sample illumination
Leitz Laborlux S compound microscope | Image analysis
CoolLED pE-100 illuminant for Leitz microscope | Sample illumination
Huvitz HRM-300 microscope w/ Panasis digital imaging software | High magnification imaging, 3D imaging and measurements, metallurgical
ausJena Jenapol Interphako interference microscope | Refractive index measurement
James Swift MP3502K microscope | Image analysis
Mettler Toledo FP82HT Hotstage | Visual examination of termal transitions in sample microscopy
Physical Testing & Characterization
Gretage Macbeth Color I 5 spectrophotometer | Color measurement, L*a*b* values, whiteness index | Jae Lowe
Instron Model 5582 | Tensile and compressive strength testing, 10 kN, 100 kN, 10 N load cells
Textest FX 3700 Elmendorf Tester | Tear strength testing
PMI CFP-1000-AEXS Capillary Flow Tester | Pore size measurement
A.A.T.C.C. CM-5 Crockmeter | Color transference, scuffing, abrasion, flexing, powdering, dry-cleaning, textile
XRD Unit - Scintag Inc. | X-ray, crystallography
KLA iMicro nano indenter | Forces up to 1N | Aniruddha Dive
MSE Pro Universal Hardness Tester
Additive Manufacturing/Prototyping
Bambu X1C Polymer 3D printer |  | Aniruddha Dive
Lithoz Cerafab 6500 Ceramic 3D printer
Xact Metal XM 200G stainless steel metal 3D printer
Filabot filament maker assembly
Ernst Benz Calendaring machine | Nonwoven bonding, point and area bonding, hot oil | Jae Lowe
Furnaces
Lindberg Heavy Duti - Type: 59744 Serial: 10853 |  | Jae Lowe
Lindberg Heavy Duti - Model: CC58125C Serial: UOSE-211167-UE
Lindberg - Type: 54233 Serial: 721024
Lindberg Heavy Duti - Type: 54253 Serial: 7831
Lindberg - Type: 51442 Serial:879102
Thermodyne Over Series 9000 - Model: OV47335 Serial: 671990163682
Thermodyne Over Series 9000 - Model: OV47335 Serial: 671930574328
Lindberg - Type: 51333 Serial:12878
Lindberg - Model: STF54453C Serial:TIIL-533879-TL
Applied Test Systems, Inc - Serial: 9361
Lindberg - Type: 54032-A Serial:114644
Lindberg - Type: 54314 Serial: 909199
Lindberg - Type: 51314 Serial: 848026
KH Huppert Co - Serial: 101 Type:SP
Thermcraft Inc - Model: FCR-10-0-10-1C-J53007/6A Serial: 005307/6A
Thermcraft Inc - Model: FCR-10-0-10-1C-J53007/6B Serial: 005307/6B
Thermcraft Inc - Model: FCR-10-0-10-1C-J53007/6C Serial: 005307/6C
Lindberg Blue - Type: HTF55347C Serial: T12L-534116-TL
Lindberg Blue - Type: STF-54453C Tuber Furnace
Lindberg - Type: 51333 Serial: 899116
Lindberg - Model: S51644 Serial:919162
Pereco - Model: 2600-112
Thermcraft Inc - Model: FBM-24-24-30-1F-J5307/1A Serial: 005307/1A
Rheology and Viscosity
Anton Paar MCR 302e Rheometer |  | Aniruddha Dive
Brookfield Amtek Dv2Plus Viscometer